## Functional_Location
S.No. | STRNO | PLTXT | EQART | INBDT | SWERK | GSBER | KOSTL | RBNR | TPLMA
S.No. | Functional Location Label | Description of functional location | Type of Technical Object | Start-up Date of Technical Object | Maintenance Plant | Business Area | Cost Center | Catalog Profile | Superior Functional Location
| CHAR | CHAR | CHAR | DATS | CHAR | CHAR | CHAR | CHAR | CHAR
| 40 | 40 | 10 | 10 | 4 | 4 | 10 | 9 | 40
1 | FB-132KV-ATPR-AKMP-01 | FB-132KV-ANANTAPUR-ANKP-01 | 132KV FB | 10.06.1985 | 5119 | 5119 | 5119S20001 | FDR BAY | SS-220KV-ATPR
2 | FB-33KV-ATPR-ATPR-01 | FB-33KV-ANANTAPUR-ANANTAPUR-01 | 33KV FB | 10.03.2012 | 5119 | 5119 | 5119S20001 | FDR BAY | SS-220KV-ATPR
Follow the above SAMPLE DATA
1
2
3

## Supporting-Data
Catalog Profile | Catalog Profile Text | Object Type | Object Type Text | Plant | Plant Description | Cost Centre | Cost Centre Text
FDR BAY | Feeder Bay | 11KV FB | 11KV Feeder bay | 2601 | SE/Telecom/Vijayawa | 2601C50001 | SE/TELECOM/VIJAYAWADA
PTR BAY | Power Transformer Bay | 132KV FB | 132KV Feeder bay | 2602 | SE/Telecom/Kadapa | 2601D50001 | DE/TEL/VIJAYAWADA
BUS BAY | Bus Bay | 220KV FB | 220KV Feeder bay | 2605 | SE/Telecom/Visakhapatnam | 2601D50002 | DE/TEL/NELLORE
BC BAY | Bus Coupler Bay | 33KV FB | 33KV Feeder bay | 3100 | SE/400KV/O&M/Visakhapatnam | 2601D50003 | DE/TELECOM/GUNTUR
CAB BAY | Capacitor Bank Bay | 400KV FB | 400KV Feeder bay | 3203 | SE/OMC/Tirupathi | 2601D50004 | DE/TELECOM/ONGOLE
FEEDER | FEEDER/LINE | 66KV FB | 66KV Feeder bay | 3312 | SE/400KV/OMC/Vijayawada | 2601S50001 | ADE/TELECOM/VIJAYAWADA
|  | ACDB | AC Distribution Pane | 3315 | SE/400KV/OMC/Kadapa | 2601S50002 | ADE/TELECOMALDC/NUNNA
|  | AIR CNDTNR | AIR CONDITINOR | 5103 | SE/OMC/Visakhapatnam | 2601S50003 | ADE/TELECOM/VTPS
|  | ALARM | ALARM | 5104 | SE/O&M/Kadapa | 2601S50004 | ADE/TELECOM/GUNTUR
|  | ALTERNATOR | ALTERNATOR | 5105 | SE/OMC/Vijayawada | 2601S50005 | ADE/TELECOM/ONGOLE
|  | AMMETER | AMMETER | 5107 | SE/OMC/Nellore | 2601S50006 | ADE/TELECOM/NELLORE
|  | ANNC PNL | ANNONCIATION PANEL | 5109 | SE/OMC/Rajahmundry | 2602C50001 | SE-TELECOM-KADAPA
|  | ANNUNCIATR | ANNUNCIATR | 5110 | SE/O&M/Kurnool | 2602D50001 | DE-TELECOM-KADAPA
|  | AUTO TRANS | AUTO TRANSFORMER | 5114 | SE/OMC/Srikakulam | 2602D50002 | DE-TELECOM-KURNOOL
|  | AUX P | AUXILARY PANEL | 5115 | SE/OMC/Vijayanagaram | 2602D50003 | DE-TELECOM-SLDC-TIRUPATI
|  | BAT BANK | BATTERY BANK | 5116 | SE/OMC/Eluru | 2602D50004 | DE-TELECOM-TIRUPATI
|  | BAT CHRGR | BATTERY CHARGER | 5117 | SE/OMC/Guntur | 2602D50005 | DE-TELECOM-ANANTHAPUR
|  | BB-PANEL | Bus-Bar panel | 5118 | SE/OMC/Ongole | 2602S50001 | ADE/TELECOM/SD/KADAPA
|  | BC | Bus Coupler | 5119 | SE/OMC/Anantapuram | 2602S50002 | ADE/TELECOM/SD/CH
|  | BC BAY | Bus Coupler bay |  |  | 2602S50003 | ADE/TELECOM/SD/RT
|  | BC-PANEL | Bus Coupler Panel |  |  | 2602S50004 | ADE/TELECOM/SD/KURNOOL
|  | BCU | BAY CONTROL UNIT |  |  | 2602S50005 | ADE/TELECOM/SD/NARNOOR
|  | BOOM | BOOM |  |  | 2602S50006 | ADE/TELECOM/SD/ANANTAPUR
|  | BR BAY | Bus Reactor Bay |  |  | 2602S50007 | ADE/TELECOM/SD/GOOTY
|  | BUS BAY | Bus Bay |  |  | 2602S50008 | ADE/SD/TELECOM/SRISAILAM
|  | BUS SCNLSR | Bus Sectionliser Bay |  |  | 2602S50009 | ADE/TELECOM/SD/TIRUPATI
|  | BUS-COUPLE | Bus Coupler |  |  | 2602S50010 | ADE/TELECOM/SD/CHITTOOR
|  | BUSHING | BUSHING |  |  | 2605C50001 | SE/TELECOM/VSP
|  | C&R PANEL | Control &Relay Panel |  |  | 2605D50001 | DE/TELECOM/VSP
|  | CAB | Capacitor Bank |  |  | 2605D50002 | DE/TELECOM/RJY
|  | CAB BAY | Capacitor Bank Bay |  |  | 2605D50003 | DE/TELECOM/SRIKAKULAM
|  | CAB-PANEL | Capacitor Bank Panel |  |  | 2605D50004 | DE/TELECOM/VIZIANAGARAM
|  | CAP-BANK | Capacitor Bank |  |  | 2605D50005 | DE/TELECOM/ELURU
|  | CAP-BK-BAY | Capacitor Bank Bay |  |  | 2605S50001 | ADE/TELECOM/SD/GARIVIDI
|  | CB | Circuit Breaker |  |  | 2605S50002 | ADE/TELECOM/SD/GAJUWAKA
|  | CB 11KV | 11KV CB |  |  | 2605S50003 | ADE/TELECOM/SD/SRIKAKULM
|  | CB 33KV | 33KV CB |  |  | 2605S50004 | TELECOMSD/KALAPAKA
|  | CB 132KV | 132KV CB |  |  | 2605S50005 | TELECOMSDBOMMUR
|  | CB 220KV | 220KV CB |  |  | 2605S50006 | TELECOMSD/VEMAGIRI
|  | CB 400KV | 400KV CB |  |  | 2605S50007 | TELECOMSDELURU
|  | CB-MO | CB-Minimum Oil |  |  | 3100C10001 | SE/400K/CON/VSP
|  | CB-SF6 | CIRCUIT BREAKER-SF6 |  |  | 3100C20001 | SE/400K/O&M/VSP
|  | CBVCM-33S | 33KV VCB SPRING MECH |  |  | 3100D10001 | EE/400KV/CON/VZM
|  | CIR | Circle Office |  |  | 3100D10002 | EE/400KV/CON/RJY
|  | CIR-4OM | Circle 400KV O&M |  |  | 3100D10003 | EE/400KV/CON/VSP
|  | CIR-4OMC | Circle 400KV OMC |  |  | 3100D20001 | DE/400/O&M/KALAPAKA
|  | CIR-OM | Circle O&M |  |  | 3100D20002 | DE/400KV/O&M/VEMAGIR
|  | CIR-OMC | Circle O&M and Const |  |  | 3100D2003 | DE/400KVSS/MARADAM
|  | CIVIL MISC | CIVIL MISCELLANIOUS |  |  | 3100D40001 | EE/CIVIL/400KV/VSP
|  | CIVIL STRU | CIVIL STRUCTURES |  |  | 3100D60001 | DE/400KV/MRT/VSP
|  | CLAMP | CLAMP |  |  | 3100L20001 | LINES/400KV/KALAPAKA
|  | CNTRL ROOM | Control Room Bay |  |  | 3100L20002 | ADELINES/400KV/VMG/
|  | COMPRESSOR | COMPRESSOR |  |  | 3100S10001 | ADE/CON/400KV/VZM/S
|  | CONDUCTOR | CONDUCTOR |  |  | 3100S10002 | ADE/400KV/CON/SD/RJY
|  | CONTRLROOM | Control Room |  |  | 3100S20001 | ADE/MAINT/400KV/KPK
|  | COOLNG FAN | COOLING FAN |  |  | 3100S20002 | ADE/O&M/SD/400KV/VMG
|  | COUPLG CAP | COUPLING CAPACITOR |  |  | 3100S40001 | AEE/400KV/CIVILSD/R
|  | CP | CONTROL PANEL |  |  | 3100S60001 | ADE/400KV/MRT/KALAPA
|  | CP 132FDR | 132KV FDR CNTRL PNL |  |  | 3100S60002 | ADE/400KV/MRT/VEMAGIRI
|  | CP 220FDR | 220KV FDR CNTRL PNL |  |  | 3100S90001 | MATERIALS/SD/KADIUM
|  | CP 400FDR | 400KV FDR CNTRL PNL |  |  | 3203C90001 | SE/OMC/TIRUPATHI
|  | CP 220BC | 220KV BC CNTRL PNL |  |  | 3203D10001 | DECONSTN.TIRUPATHI
|  | CP 220KV | 220KV CONTROL PANEL |  |  | 3203D20001 | DE/O&M/CHITTOOR
|  | CP 33FDR | 33KV FDR CNTRL PNL |  |  | 3203D20002 | DE/O&M/TIRUPATHI
|  | CP 400KV | 400KV CONTROL PANEL |  |  | 3203D20003 | DE/O&M/MADANAPALLI
|  | CP DG | DG CONTROL PANEL |  |  | 3203D40001 | EE/CIVIL/C&M/TIRUPATHI
|  | CP PTR | POWER TRFR CNTRL PNL |  |  | 3203D60001 | DE/MRT&TR./TIRUPATHI
|  | CP STR | STATIONTF CNTRL PNL |  |  | 3203L20001 | ADE/EHTLINES/CHITTOOR
|  | CRP | CONTROL &RELAY PANEL |  |  | 3203L20002 | ADE/EHTLINES/RENIGUNTA
|  | CRP 132FDR | 132KV FDR C&R PNL |  |  | 3203L20003 | LINESSD/CHITTOOR
|  | CRP 220BB | CRP 220KV Bus-Bar |  |  | 3203L20004 | LINESSD/MADANAPALLY
|  | CRP 220BC | CRP 220KV BusCoupler |  |  | 3203S10001 | AEE/TLC/SD/TIRUPATI
|  | CRP 220FDR | 220KV FDR C&R PNL |  |  | 3203S10002 | AEE/TLC/SD/MADANA
|  | CRP 33FDR | 33KV FDR CNTRL PNL |  |  | 3203S10003 | AEE/CONST1/CIVIL/
|  | CRP 400BB | 400 BB C&R PNL |  |  | 3203S10004 | AEE/CONST2/CIVIL/
|  | CRP 400FDR | 400KV FDR C&R PNL |  |  | 3203S20001 | ADE/MAINT/CHITTOOR
|  | CRP AUTO | AUTOMATION C&R PNL |  |  | 3203S20002 | ADE/MAINT/PALAMANE
|  | CRP BC | BC CNTRL &RELAY PNL |  |  | 3203S20003 | ADE/MAINT/KALIKIRI
|  | CRP CAB | CAPACTR BANK C&R PNL |  |  | 3203S20004 | ADE/MAINT/TIRUPATHI
|  | CRP OLTC | OLTC CNTRL&RELAY PNL |  |  | 3203S20005 | ADE/MAINT/RENIGUNT
|  | CRP PTR | POWER TRFR C&R PANEL |  |  | 3203S20006 | ADE/MAINT/NAGARI
|  | CRP TBUS | TBUS CNTRL&RELAY PNL |  |  | 3203S20007 | AEE/O&M/CIVIL/TIRUPATI
|  | CT | Current Transformer |  |  | 3203S60001 | ADE/MRT/CHITTOOR
|  | CT 11KV | 11KV CURRENT TRFR |  |  | 3203S60002 | ADE/MRT/RENIGUNTA
|  | CT 132KV | 132KV CURRENT TRFR |  |  | 3203S60003 | ADE/TRE&PROT/TIRUPATI
|  | CT 220KV | 220KV CURRENT TRFR |  |  | 3203S60004 | MRTSD/MADANAPALLY
|  | CT 33KV | 33KV CURRENT TRFR |  |  | 3312C90001 | SE/400KV/OMC/VIJAYAWADA
|  | CT 400KV | 400KV CURRENT TRFR |  |  | 3312D10001 | EE/400KV/CONST/VIJAYAWADA
|  | CUCC-10C2. | 10C 2.5SQ CU CN CABL |  |  | 3312D10002 | EE/400KVCONST/GUNTUR
|  | CUCC-12C2. | 12C 2.5SQ CU CN CABL |  |  | 3312D20001 | DE/400KV/O&M/MANUBOLU
|  | CUCC-2C2.5 | 2C 2.5SQ CU CN CABLE |  |  | 3312D20002 | DE/400KV/O&M/SATTENAPALLI
|  | CUCC-4C2.5 | 4C 2.5SQ CU CN CABLE |  |  | 3312D2003 | DE/400KVSS/PODILI
|  | CUCC-6C2.5 | 6C 2.5SQ CU CN CABLE |  |  | 3312D40001 | EE/400KV/CIVIL/VIJAYAWADA
|  | CUPC-3.5C2 | 3.5C 2.5SQ CUPWR CBL |  |  | 3312D60001 | DE/400KVMRT/VIJAYAWADA
|  | CVT | Cap.Volt.Transformer |  |  | 3312L20001 | ADE/LINES/MANUBOLU
|  | CVT 132KV | 132KV CVT |  |  | 3312S10001 | AEE/400KV/CON/SD
|  | CVT 220KV | 220KV CVT |  |  | 3312S10002 | AEE/400KV/CON/SD
|  | CVT 400KV | 400KV CVT |  |  | 3312S10003 | AEE/400KV/CON/SD
|  | DB | DISTRIBUTION BOARD |  |  | 3312S10004 | AEE/400KV/CON/SD
|  | DB MOTOR | DB MOTOR |  |  | 3312S10005 | AEE/400KV/CON/SD
|  | DCDB | DC Disrubution Panel |  |  | 3312S10006 | AEE/400KVCIVIL/VIJAYAWADA
|  | DG | DIESEL GENERATOR |  |  | 3312S10007 | AEE/CIVIL400KV2/VIJAYAWADA
|  | DG SET | DG SET |  |  | 3312S10008 | 400KVCONSTSDONGOL
|  | DIV | Division Office |  |  | 3312S20001 | ADE/MAINT/400KV/
|  | DIV-4OM | 400KV O&M Division |  |  | 3312S20002 | ADE/MAINT/SATTENAP
|  | DIV-MRT&TR | MRT&TR Division |  |  | 3312S60001 | ADE/MRT/SATTENAPAL
|  | DIV-OM | O&M Division |  |  | 3312S60002 | ADE/MRT/MANUBOLU
|  | DOG | DOG CONDUCTOR |  |  | 3312S70001 | AEE/S&I/GUNTUR
|  | EARTH WIRE | EARTH WIRE |  |  | 3315C90001 | SE400KVOMCKADAPA
|  | ELECT MISC | ELECTRICAL MISC |  |  | 3315D10001 | EE/400KV/CONSTN/KADAPA
|  | ES | EARTH SWITCH |  |  | 3315D10002 | EE/400KV/CONSTN/ANANTAPUR
|  | F-PANEL | Feeder Panel |  |  | 3315D20001 | DE/400KV/O&M/NARNOOR
|  | FDR C&R PL | FEEDER C&R PANEL |  |  | 3315D20002 | DE/400KV/O&M/CHITTOOR
|  | FEEDER-BAY | Feeder bay |  |  | 3315D2003 | DE/400KVSS/HINDUPUR
|  | FIRE FIGHT | FIRE FIGHTNING |  |  | 3315D2004 | DE/400KVSS/KALIKIRI
|  | GATE WAY | GATE WAY |  |  | 3315D40001 | EE/CONST/400KV/C&M/KADAPA
|  | GCB-BAY | Group Control Bay |  |  | 3315D60001 | DE/400KV/MRT/KADAPA
|  | GEN SET | GENSETS |  |  | 3315L20001 | ADE/LINES/400KV/
|  | GIS | GIS SWITCH GEAR |  |  | 3315L20002 | ADE/400KV/LINESC
|  | GNRL MISC | GENERL MISCELLANIOUS |  |  | 3315S10001 | AEE/400KV/CONSD
|  | ICT-315MVA | ICT 315MVA 400/220KV |  |  | 3315S10002 | AEE/400KV/CONSD
|  | INDICATOR | INDICATOR |  |  | 3315S10003 | AEE/400KV/CONSD
|  | INSULATORS | INSULATORS |  |  | 3315S10004 | AEE/400KV/CONSD
|  | INVAR | INVAR CONDUCTOR |  |  | 3315S10005 | AEE/400KV/CONSD
|  | INVERTER | INVERTER |  |  | 3315S10006 | AEE/400KV/CONSD/G
|  | ISO | Isolator |  |  | 3315S10007 | AEE/400KV/CONSD/K
|  | ISO 11KV | 11KV ISOLATOR |  |  | 3315S20001 | ADE/MAINT/400KV/
|  | ISO 132KV | 132KV ISOLATOR |  |  | 3315S20002 | ADE/MAINT/400KV/
|  | ISO 220KV | 220KV ISOLATOR |  |  | 3315S20003 | ADE/M/400/CHITTOOR
|  | ISO 33KV | 33KV ISOLATOR |  |  | 3315S20004 | ADE/M/400/URVKNDA
|  | ISO 400KV | 400KV ISOLATOR |  |  | 3315S60001 | ADE/MRT/400KV/CHITTOOR
|  | ISO-WES | ISO WITH EARTHSWITCH |  |  | 3315S60002 | ADE/MRT/400KV/NARNOOR
|  | ISO-WOES | ISO W OUT EARTSWITCH |  |  | 5103C90001 | SE/CIVIL/VSP
|  | IT ASSETS | IT ASSETS |  |  | 5103C90002 | SE/OMC/VSP
|  | IVT 132KV | IVT 132KV |  |  | 5103D10001 | EE/CON/VSP
|  | IVT 220KV | 220KV IVT |  |  | 5103D20001 | DE/O&M/GAJUWAKA
|  | KIOSK | Kiosk Yard Bay |  |  | 5103D20002 | DE/O&M/PENDURTHY
|  | LA | Lightning Arrester |  |  | 5103D40001 | EE/CIVIL/TLC/VSP
|  | LA 11KV | 11KV LA |  |  | 5103D40002 | EE/CIVIL/CON&O&M/RJY
|  | LA 33KV | 33KV LA |  |  | 5103D40003 | EE/CIVIL/400KV/VSP
|  | LA 66KV | 66KV LA |  |  | 5103D60001 | DE/MRT&TR/VSP
|  | LA 132KV | 132KV LA |  |  | 5103L10001 | AEE/LINES/SD/VSP
|  | LA 220KV | 220KV LA |  |  | 5103L20001 | LINES/SD/GWK
|  | LA 400KV | 400KV LA |  |  | 5103L20002 | LINES/SD/SILERU
|  | LB BACKUP | LOCAL CB BACKUP |  |  | 5103L20003 | EHTLINES/SIMHACHALA
|  | LINE-11KV | 11KV LINE |  |  | 5103L20004 | EHTLINES/PENDURTHI/
|  | LINE-33KV | 33KV LINE |  |  | 5103L20005 | LINESSD/NARSIPATNAM
|  | LINE-66KV | 66KV LINE |  |  | 5103L70001 | HOTLLINESSD/GAJUWA
|  | LINE-132KV | 132KV LINE |  |  | 5103L70002 | HOTLINESSDSIMHACH
|  | LINE-220KV | 220KV LINE |  |  | 5103S10001 | AEE/CIVILCON/SDVS
|  | LINE-400KV | 400KV LINE |  |  | 5103S10002 | AEE/CIVILCON/SD/RJ
|  | LT PANEL | LT Disrubution Panel |  |  | 5103S10003 | AEE/CON/SD/VSP
|  | MCB | MINIATURE CB |  |  | 5103S20001 | MAINT/GWK/SD
|  | MEASUR INS | MEASURING INSTRMENTS |  |  | 5103S20002 | AEECIVILO&MSD/R
|  | METER BAY | Metering Bay |  |  | 5103S20003 | MAINT/PARAWADA/SUB
|  | METER FREQ | FREQUENCY METER |  |  | 5103S20004 | MAINT/BRANDIX/VSP
|  | METER KVAR | KVARMETER |  |  | 5103S20005 | MAINT/VSS/SD/VSP
|  | METER MULT | METER MULTI |  |  | 5103S20006 | MAINT/PENDURTHI/SD
|  | METER MVA | MVA METER |  |  | 5103S20007 | MAINT/DAIRYFARM/SD
|  | METER MVAR | METER MVAR |  |  | 5103S20008 | MAINT/GANGAVARAM/SD
|  | METER MW | METER MW |  |  | 5103S20009 | AEECIVILO&M/VSP
|  | METER PF | POWER FACTOR METER |  |  | 5103S20010 | OILTESTINGLABORATO
|  | METER TVM | TRI VCTR Energy MTR |  |  | 5103S40001 | AEE/400KV/CIVILSD/R
|  | MODEM | MODEM |  |  | 5103S60001 | TRE/GWK/SD
|  | MOOSE | MOOSE CONDUCTOR |  |  | 5103S60002 | MRT/SML/SD
|  | MOTOR | MOTOR |  |  | 5103S60003 | MRT/PENDURTHI/SD
|  | NCT | Neut.Cur.Transformer |  |  | 5103S70001 | AEESURVEY/SD/VSP
|  | OF-CABLE | Optical Fiber Cable |  |  | 5103S90001 | 3.MAT/GWK/SD
|  | OFFICES | OFFICES |  |  | 5103S90002 | AEE/CON&O&M/VZM/SD
|  | OLTC | PTR OnLoadTapChanger |  |  | 5103S90003 | AEE/CON&O&MNDD/SD
|  | OLTC MOTOR | OLTC MOTOR |  |  | 5103S90004 | AEECON&O&MSKLM
|  | OLTC-PANEL | Transfmer OLTC Panel |  |  | 5103Z90001 | CHIEFENGINEER/VSPZ
|  | OTI | OIL TEMP INDICATOR |  |  | 5104C10001 | SECONSTN.KADAPA
|  | PANEL | Panel |  |  | 5104C20001 | SEO&MKADAPA
|  | PANTHER | PANTHER CONDUCTOR |  |  | 5104C90001 | SE/CIVIL/KADAPA
|  | PNL-RTU | RTU PANEL |  |  | 5104D10001 | EECONSTN.KADAPA
|  | PNL-TELECM | TELECOM PANEL |  |  | 5104D20001 | DEO&MKADAPA
|  | PRINTER | PRINTER |  |  | 5104D20002 | DEO&MYERRAGUNTLA
|  | PROT EQUIP | PROTECTION EQUIPMENT |  |  | 5104D40001 | EECIVILKADAPA
|  | PRV | PRESSUR RELIEF VALVE |  |  | 5104D60001 | DEMRTTR.KADAPA
|  | PT | Potential Transformer |  |  | 5104D70001 | DEHOTLINESKADAPA
|  | PT 11KV | 11KV PT |  |  | 5104L20001 | ADE/LINES/KADAPA
|  | PT 33KV | 33KV PT |  |  | 5104L20002 | ADE/EHTLINES/YE
|  | PT 132KV | 132KV PT |  |  | 5104L20003 | LINESSD/RAJAMPET
|  | PT 220KV | 220KV PT |  |  | 5104L20004 | LINESSD/220KVPULIV
|  | PTDB | PT DISTRBUTION BOARD |  |  | 5104L70001 | ADE/HOTLINES/KADA
|  | PTDB 132 | 132KV PT DB |  |  | 5104S10001 | AEE/TLC/CIVILCONS
|  | PTDB 220 | 220KV PT DB |  |  | 5104S10002 | AEE/TLC/SDII/KAD
|  | PTDB 33 | PT DISTRBUTION BOARD |  |  | 5104S10003 | AEE/TLC/SDIII/KA
|  | PTR | Power Transformer |  |  | 5104S20001 | ADE/MAINT/KADAPA
|  | PTR 100MVA | 100MVA POWER TRFR |  |  | 5104S20002 | ADE/MAINT/MYDUKUR
|  | PTR 15MVA | 15MVA POWER TRFR |  |  | 5104S20003 | ADE/MAINT/C.K.PALL
|  | PTR 16MVA | 16MVA POWER TRFR |  |  | 5104S20004 | ADE/MAINT/RAJAMPET
|  | PTR 25MVA | 25 MVA POWER TRFR |  |  | 5104S20005 | ADE/MAINT/KODURU
|  | PTR 315MVA | 31.5MVA POWER TRFR |  |  | 5104S20006 | ADE/MAINT/YERRAGUN
|  | PTR 40MVA | 40MVA POWER TRFR |  |  | 5104S20007 | ADE/MAINT/PULIVEND
|  | PTR 50MVA | 50MVA POWER TRFR |  |  | 5104S20008 | ADE/MAINT/TIMMAPUR
|  | PTR 7.5MVA | 7.5MVA POWER TRFR |  |  | 5104S20009 | ADE/MAINT/KONDAPUR
|  | PTR 80MVA | 80MVA POWER TRFR |  |  | 5104S20010 | ADEO&MCIVILKADAPA
|  | PTR 8MVA | 8MVA POWER TRFR |  |  | 5104S20011 | ADE/S&I-O&M/SD/K
|  | PTR BAY | PowerTransformer bay |  |  | 5104S20012 | OILTESTINGLABORATO
|  | PTR OLTC | PTR OLTC |  |  | 5104S60001 | ADE/MRT/KADAPA
|  | PTR SPARES | POWER TRFR SPARES |  |  | 5104S60002 | ADE/MRT/YERRAGUNTL
|  | PTR-100MVA | 100MVA PTR |  |  | 5104S60003 | ADE/TRE&PROT/KAD
|  | PTR-160MVA | 160MVA PTR |  |  | 5104S90001 | AEE/TLC/KADPA(STORE)
|  | PTR-16MVA | 10/16MVA PTR |  |  | 5104Z90001 | CE/ZONE/KADAPA
|  | PTR-50MVA | 50MVA PTR |  |  | 5105C90001 | SE/OMC/VIJAYAWADA
|  | PTR-80MVA | 80MVA PTR |  |  | 5105C90002 | SE/CIVIL/VIJAYAWADA
|  | PTR-BAY | PowerTransformer bay |  |  | 5105D10001 | EE/CONST./VIJAYAWADAWAD
|  | PTR31.5MVA | 31.5MVA PTR |  |  | 5105D20001 | DE/HOTLINES/VIJAYAWADA
|  | PUMP | PUMP |  |  | 5105D20002 | DE/O&M/VIJAYAWADA
|  | QUARTERS | QUARTERS |  |  | 5105D40001 | EE/CIVIL/VIJAYAWADA
|  | REACTOR | REACTOR |  |  | 5105D60001 | DE/MRT&TRANS./VIJAYAWADA
|  | REACTORS | Reactors |  |  | 5105L20001 | ADE/HOTLINES/VIJAYAWADAW
|  | REACTRBANK | REACTOR BANK |  |  | 5105L20002 | LINESSD/NUNNA
|  | RECEIVER | RECEIVER |  |  | 5105L60001 | ADE/EHTLINES/GUNA
|  | RELAY | RELAY |  |  | 5105L60002 | ADE/EHTLINES/KONDA
|  | REPAIR BAY | Repair Bay |  |  | 5105S10001 | AEE/SD-I/VIJAYAWADAWA
|  | REPAIR-BAY | Repair Bay |  |  | 5105S10002 | AEE/SD-II/VIJAYAWADAW
|  | RP 11FDR | 11KV FDR RELAY PNL |  |  | 5105S10003 | AEE/CIVILTLCSD/V
|  | RP 132FDR | 132KV FDR RELAY PNL |  |  | 5105S10004 | AEE/CIVILTLC/GUNT
|  | RP 220BB | 220KV BB RELAY PNL |  |  | 5105S10005 | CONSTSD-3/VIJAYAWADAWAD
|  | RP 220BC | 220KV BC RELAY PNL |  |  | 5105S20001 | ADE/M/CHILLAKALLU
|  | RP 220BUS | 220KV BUS RELAY PNL |  |  | 5105S20002 | ADE/M/KONDAPALLI
|  | RP 220FDR | 220KV FDR RELAY PNL |  |  | 5105S20003 | ADE/M/GUNADALA
|  | RP 220KV | 220KV RELAY PANEL |  |  | 5105S20004 | ADE/M/GUDIWADA
|  | RP 220TBC | 220KV TBC RELAY PNL |  |  | 5105S20005 | ADE/M/NUNNA
|  | RP 33FDR | 33KV FDR RELAY PNL |  |  | 5105S20006 | AEE/CIVIL/O&M/VIJA
|  | RP 400BB | 400KV BB RELAY PNL |  |  | 5105S20007 | AEE/CIVILO&M/VIJA
|  | RP 400FDR | 400KV FDR RELAY PNL |  |  | 5105S20008 | OILTESTINGLABORATO
|  | RP 400KV | 400KV RELAY PANEL |  |  | 5105S30001 | ADE/SLDC/NUNNA
|  | RP PTR | POWER TRFR RELAY PNL |  |  | 5105S60001 | ADE/TRE/PROT./VIJAYAWADA
|  | RTCC PANEL | RTCC PANEL |  |  | 5105S60002 | ADE/MRT-I/VIJAYAWADA
|  | RTU | RTU |  |  | 5105S60003 | ADE/MRT-II/VIJAYAWADA
|  | RTUP | RTU PANEL |  |  | 5105S70001 | AEE/CIVILS&I/VIJA
|  | RTUP 33 | 33KV RTU PANEL |  |  | 5105S90001 | MAT/STORES/GUNADALA
|  | RVT | Residual Voltage Tra |  |  | 5105Z90001 | CHIEFENGINEER/VIJAYAWADA
|  | SAS | SAS |  |  | 5107C90001 | SE/OMC/NELLORE
|  | SAS PANEL | SAS PANEL |  |  | 5107D10001 | EE/CONST./NELLORE
|  | SD | Sub-Division office |  |  | 5107D20001 | DE/O&M/NELLORE
|  | SD-4LN | 400KV Lines Sub-Div |  |  | 5107D40001 | EE/CIVIL/NELLORE
|  | SD-4MNT | 400KV MNT Sub-Div |  |  | 5107D60001 | DE/MRT&TRANS./NELL
|  | SD-LN | Lines Sub-Division |  |  | 5107L10001 | AEE/TLC/L/SD/NELLOR
|  | SD-MNT | MNT Sub-Division |  |  | 5107S10001 | AEE/TLC/SS/SD/NELLO
|  | SD-MRT | MRT Sub-Division |  |  | 5107S10002 | AEE/CIVIL/CONSTNE
|  | SD-TRE | TRE Sub-Division |  |  | 5107S20001 | ADE/M/220KVSS/NELL
|  | SPARE | SPARE |  |  | 5107S20002 | ADE/M/SULLURPET
|  | SS-132/11 | SS 132/33/11KV |  |  | 5107S20003 | ADE/M/132KVSS/NTS
|  | SS-132/132 | SW-STN 132/132KV |  |  | 5107S20004 | AEE/CIVILO&M/NELL
|  | SS-132/33 | SUB-STATION 132/33KV |  |  | 5107S20005 | AEE/CIVILO&M/NELLOR
|  | SS-220/11 | SS 220/132/33/11KV |  |  | 5107S20006 | AEE/CIVIL/O&M/ONGOL
|  | SS-220/132 | SS 220/132KV |  |  | 5107S60001 | ADE/TRE/PROTEC/NELL
|  | SS-220/220 | SW-STN 220/220KV |  |  | 5107S60002 | ADE/MRT/NELLORE
|  | SS-220/33 | SS 220/132/33KV |  |  | 5109C90001 | SE/OMC/RJY
|  | SS-400/132 | SS 400/220/132KV |  |  | 5109D10001 | EE/CON/RJY
|  | SS-400/220 | SS 400/220KV |  |  | 5109D20001 | DE/O&M/BOMMURU
|  | SS-400/33 | SS 400/220/132/33KV |  |  | 5109D20002 | DE/O&M/KAKINADA
|  | SS-400/400 | SW-STN 400/400KV |  |  | 5109D40001 | EE/CIVIL/C&M/RJM
|  | SS-66/132 | SUB-STATION 66/132KV |  |  | 5109D60001 | DE/MRT&TR/RJY
|  | STR | Station Transformer |  |  | 5109L10001 | CONSD/LINES/RJY
|  | STR-BAY | Stat.Transformer Bay |  |  | 5109L20001 | EHTLINES/BOMMURU/SU
|  | SURGE MNTR | SURGE MONITOR |  |  | 5109L20002 | EHTLINES/KKD/SD
|  | SWITCH | SWITCH |  |  | 5109L70001 | HOTLINESSDVEMAGIR
|  | T&P | TOOLS & PLANTS |  |  | 5109S10001 | AEE/CON/SD/RJY/
|  | TAP INDCTR | TAP POSITION INDICTR |  |  | 5109S10002 | AEE/CIVILCON/SD/RJ
|  | TBC BAY | Transfr Bus-CuplrBay |  |  | 5109S20001 | MAINT/BOMMURU/SUBDI
|  | TBC-BAY | Tra Bus Coupler Bay |  |  | 5109S20002 | MAINT/SAMALKOT/SUBD
|  | TBC-PANEL | Transfer Bus Coupler |  |  | 5109S20003 | MAINT/KKD/SD
|  | TBUS | Transfer Bus Bay |  |  | 5109S20004 | AEECIVILO&MSD/R
|  | TBUS BAY | Transfer Bus Bay |  |  | 5109S60001 | MRT/RJY/SD
|  | TD MVAR | TRANSDUCER MVAR |  |  | 5109S60002 | TRE/RJY/SD
|  | TD MW | TRANSDUCER MW |  |  | 5109S60003 | MRTSD/KAKINADA
|  | TEL MISC | TELECOM MISCLLANIOUS |  |  | 5109S90001 | 3.STORES/SD/BMR
|  | TEST KITS | TEST KITS |  |  | 5110C10001 | SECONSTN.KURNOOL
|  | TIE BAY | Tie Breaker bay |  |  | 5110C20001 | SEO&MKURNOOL
|  | TIE PANEL | Tie-Bay panel |  |  | 5110D10001 | DECONSTN.KURNOOL
|  | TIE-BAY | Tie Breaker bay |  |  | 5110D20001 | DEO&MKURNOOL
|  | TIE-PANEL | Tie-Bay panel |  |  | 5110D20002 | DEO&MNANDYAL
|  | TOWER | TOWER |  |  | 5110D40001 | EECIVILKURNOOL
|  | TR-PANEL | Transformer Panel |  |  | 5110D60001 | DEMRTTR.KURNOOL
|  | TWIN PANEL | TWIN PANEL |  |  | 5110L20001 | ADE/EHTLINES/SD/
|  | VALVE | VALVE |  |  | 5110L20002 | ADE/EHTLINES/ADON
|  | VCB 11KV | 11KV VACCUM CB |  |  | 5110L20003 | ADE/EHTLINES/DHON
|  | VCB 33KV | 33KV VACCUM CB |  |  | 5110L20004 | ADE/EHTLINES/NAND
|  | VEHICLES | VEHICLES |  |  | 5110L20005 | ADE/EHTLINES/SRIS
|  | VOLTMETER | VOLTMETER |  |  | 5110L70001 | ADE/HOTLINES/KURN
|  | WAVETRAP | Wave trap |  |  | 5110S10001 | ADE/CONST/SDI/KNL
|  | WOLF | WOLF CONDUCTOR |  |  | 5110S10002 | ADE/CONST/SDII/KNL
|  | WT 33KV | 33KV WAVE TRAP |  |  | 5110S10003 | ADE/CON/SDIII/KNL
|  | WT 132KV | 132KV WAVE TRAP |  |  | 5110S10004 | AEE/CIVILCONST/KU
|  | WT 220KV | 220KV WAVE TRAP |  |  | 5110S20001 | ADE/MAINT/APCARBI
|  | WT 400KV | 400KV WAVE TRAP |  |  | 5110S20002 | ADE/MAINT/220KV/
|  | WTI | WINDING TEMP INDICTR |  |  | 5110S20003 | ADE/MAINT/SOMAYAJU
|  | XLPE-CABLE | XLPE-CABLE |  |  | 5110S20004 | ADE/MAINT/NANDIKOT
|  | ZEBRA | ZEBRA CONDUCTOR |  |  | 5110S20005 | ADE/CIVIL/O&M/KUR
|  | ZONE | Zonal Office |  |  | 5110S60001 | ADE/MRT/KURNOOL
[6 empty] | 5110S60002 | ADE/TRE&PROT/KUR
[6 empty] | 5110S60003 | ADE/MRT/NANDYALA
[6 empty] | 5110S90001 | ADE/KURNOL(STORES)
[6 empty] | 5114C90001 | SE/OMC/SRIKAKULAM
[6 empty] | 5114D10001 | EE/CON/SKLM
[6 empty] | 5114D20001 | DE/O&M/SKLM
[6 empty] | 5114D60001 | DE/MRT&TR/SKLM
[6 empty] | 5114L20001 | EHTLINES/TEKKALISU
[6 empty] | 5114S10001 | CON./SKLMSD
[6 empty] | 5114S20001 | MAINT/TEKKALI/SUBDI
[6 empty] | 5114S60001 | MRT/TEKKALI/SD
[6 empty] | 5114S90002 | AEECON&O&MSKLM
[6 empty] | 5115C90001 | SE/OMC/VZM
[6 empty] | 5115D10001 | EE/CON/VZM
[6 empty] | 5115D20001 | DE/O&M/GVD
[6 empty] | 5115D40001 | EE/CIVIL/C&M/VZM
[6 empty] | 5115D60001 | DE/MRT&TR/VZM
[6 empty] | 5115L20001 | EHTLINES/GVD/SUBD
[6 empty] | 5115S10001 | CON./VZMSUBDIVISION
[6 empty] | 5115S20001 | MAINT/SD/GARIVIDI
[6 empty] | 5115S60001 | MRT/SD/VZM
[6 empty] | 5115S60002 | TRE/SD/VZM
[6 empty] | 5115S90001 | AEE/CON&O&M/VZM/SD
[6 empty] | 5116C90001 | SE/OMC/ELURU
[6 empty] | 5116D10001 | EE/CON./ELURU
[6 empty] | 5116D20001 | DE/O&MNDD
[6 empty] | 5116D20002 | DE/O&M/ELURU
[6 empty] | 5116D40001 | EE/CIVIL/C&M/ELURU
[6 empty] | 5116D60001 | DE/MRT&TR/ELURU
[6 empty] | 5116L20001 | EHTLINES/NDD/SD
[6 empty] | 5116L20002 | EHTLINES/BHIMADOL/S
[6 empty] | 5116L20003 | LINESSD/KAMAVARAPUK
[6 empty] | 5116S10001 | SS/CON/SD/ELR
[6 empty] | 5116S20001 | MAINT/NDD/SD
[6 empty] | 5116S20002 | MAINT/UNDI/SD
[6 empty] | 5116S20003 | MAINT/BHIMADOL/SD
[6 empty] | 5116S20004 | MAINT/K.KOTA/SD
[6 empty] | 5116S60001 | MRT/NIDAAVOLU/SD
[6 empty] | 5116S60002 | MRT/P.T.PALLI/SD
[6 empty] | 5116S60003 | TRE/SDELURU
[6 empty] | 5116S90001 | AEE/CON&O&MNDD/SD
[6 empty] | 5117C90001 | SE/OMC/GUNTUR
[6 empty] | 5117D10001 | EE/CONST./GUNTUR
[6 empty] | 5117D10002 | DE/CONSTRUCTION/CRDA
[6 empty] | 5117D20001 | DE/O&M/GUNTUR
[6 empty] | 5117D20002 | DE/O&M/NARASARAOPET
[6 empty] | 5117D40001 | EE/CIVIL/C&M/GUNTUR
[6 empty] | 5117D60001 | DE/MRT&TRANS./GUNT
[6 empty] | 5117L20001 | ADE/LINES/GUNTUR
[6 empty] | 5117L20002 | ADE/LINES/PIDUGURAL
[6 empty] | 5117S10001 | AEE/SD-I/GUNTUR
[6 empty] | 5117S10002 | AEE/SD-II/GUNTUR
[6 empty] | 5117S10003 | AEE/CIVILTLC/GUNT
[6 empty] | 5117S20001 | ADE/M/TADIKONDA
[6 empty] | 5117S20002 | ADE/M/NARASARAOPET
[6 empty] | 5117S20003 | ADE/M/RENTACHINTALA
[6 empty] | 5117S20004 | ADE/M/TALLAPALLI
[6 empty] | 5117S60001 | ADE/MRT/GUNTUR
[6 empty] | 5117S60002 | ADE/MRT/NARASARAOPETA
[6 empty] | 5118C90001 | SE/OMC/ONGOLE
[6 empty] | 5118D10001 | EE/CONST./ONGOLE
[6 empty] | 5118D20001 | DE/O&M/ONGOLE
[6 empty] | 5118D40001 | EE/CIVIL/C&M/ONGOLE
[6 empty] | 5118D60001 | DE/MRT&TRANS./ONGOLE
[6 empty] | 5118L20001 | ADE/EHTLINES/ONGOLE
[6 empty] | 5118L20002 | ADE/EHTLINES/MARKAPUR
[6 empty] | 5118S10001 | AEE/CONST./SD-I/ONGOLE
[6 empty] | 5118S10002 | AEE/CONST./SD-II/ONGOLE
[6 empty] | 5118S20001 | ADE/M/220KVSS/ONGOLE
[6 empty] | 5118S20002 | ADE/M/220KVSS/PODILI
[6 empty] | 5118S20003 | ADE/M/220KVSS/MARKAPURAM
[6 empty] | 5118S40001 | AEE/CIVIL/O&M/ONGOLE
[6 empty] | 5118S60001 | ADE/MRT/ONGOLE
[6 empty] | 5118S60002 | ADE/TRE&PROTN./ONGOLE
[6 empty] | 5118S90001 | ADE/STORES/ONGOLE
[6 empty] | 5119C90001 | SEOMCANANTHAPURAM
[6 empty] | 5119D10001 | EECONSTRUCTIONANANTHAPURAM
[6 empty] | 5119D20001 | DEO&MANANTHAPURAM
[6 empty] | 5119D20002 | DEO&MHINDUPUR
[6 empty] | 5119D40001 | EE/CIVIL/C&M/ATP
[6 empty] | 5119D60001 | DEMRTTR.ANANTHAPUR
[6 empty] | 5119D70001 | DEWINDFARMSANANTHAPUR
[6 empty] | 5119L20001 | ADE/EHTLINES/ANANTHAPUR
[6 empty] | 5119L20002 | ADE/EHTLINES/RSS/G
[6 empty] | 5119L20003 | ADE/EHTLINES/PUTTAPURTHY
[6 empty] | 5119L20004 | ADE/EHTLINES/DHARMAVARAM
[6 empty] | 5119L20005 | LINESSD/220KVKALYANDURG
[6 empty] | 5119L20006 | LINESSD/HINDUPUR
[6 empty] | 5119S10001 | AEE/TLC/SD1/ANANTHAPUR
[6 empty] | 5119S10002 | AEE/TLC/SD2/ANANTHAPUR
[6 empty] | 5119S10003 | AEE/TLC/SD3/ANANTHAPUR
[6 empty] | 5119S10004 | AEE/TLC/HINDUPUR
[6 empty] | 5119S10005 | AEE/CIVILCONST/AN
[6 empty] | 5119S20001 | ADE/MAINT/ANANTHAPUR
[6 empty] | 5119S20002 | ADE/MAINT/GOOTY
[6 empty] | 5119S20003 | ADE/MAINT/GOOTY/UR
[6 empty] | 5119S20004 | ADE/MAINT/TADIPATRI
[6 empty] | 5119S20005 | ADE/MAINT/RAMAGIRI
[6 empty] | 5119S20006 | ADE/MAINT/HINDUPUR
[6 empty] | 5119S20007 | TRE/SD/HINDUPUR
[6 empty] | 5119S20008 | SOLAR/SD/ANANTHAPUR
[6 empty] | 5119S60001 | ADE/MRT/ANANTHAPUR
[6 empty] | 5119S60002 | ADE/MRT/HINDUPUR
[6 empty] | 5119S60003 | ADE/TRE & PROTECTION
[6 empty] | 5119S60004 | ADE/MRT/GOOTY
[6 empty] | 5119S70001 | ADE/WINDFIRMS/ANANTHAPUR
[6 empty] | 5119S70002 | AEE/SURVEY/ANANTHAPUR